##### Space Data Sheets

1.0 Contact Information:

Name:						Position:

Company/Department:

Address:

City:						State:			Zip:

Telephone:			Fax:				Email:

Address of the project if different from above:

2.0 General Information:

2.1 Application / Intended Use Summary:

Laboratory Name:

2.2 Function

2.3 Construction:	 New	 Existing / Retrofit

2.4 FM Insurance: 	 Yes  	 No

Other:

2.5 Labor Req.:	 Union  	 Open Shop   	 None

2.6 Permitting:  	 Yes  	 No

2.7 Accreditation:	ISO	     A2LA  	Nvlap     NEBB    FDA

Other:

3.0 Design Criteria:

3.1 Temperature:

Setpoint:	(	Degrees C 	(	Degrees F

Stability:		(C/Hour	or	or 	(F/Hour

(C/12 Hours	or 		(F/12 Hours

(C/24 Hours	or 		(F/24 Hours

Gradients:

Horiz:		(C/M		or		(F/FT.

Vert.: 		(C/M		or		(F/FT.

Control:  Space that requires control

3.2 Humidity:

Setpoint:		% RH

Limits:			±  % RH

3.3 Cleanliness

Class:

3.4 Sound Level:			dbA				 NC	           	 RC             		    N/A

3.5 Room Pressure:			“wc, 	ref. to:

3.6 Eq. Heat Load:			KW

3.7 Total Exhaust:			CFM

3.8 Lighting Level:		F.C. 	 @		meter / AFF

3.9  Lighting Control:                     Dimming                    Step & % of control

3.10 Maximum

Occupancy: 		Persons

3.11	Maximum Air Velocity:

3.12  Variable Air Velocity:     From:	                   m/sec      To:                      m/sec

  - Vibration  Test measurement location:

Frequency                      HZ  to                      HZ    displacement                                       μ/m

Frequency                      HZ  to                      HZ    acceleration                                         g

3.14 RF/EMI

Internal field strength

3.15  Magnetic shielding:

Laser Safety:                        Yes                       No

3.16  Floor

Conductivity:				OHMS		@				Volts				 NA

3.17  Grounding:                          ohms

4.0 Laboratory Features:

4.1 Dimensions:

Total space:			m²	                    		ft²

Size:				Length OD  			Width OD

4.2 Interior Ceiling:			m (AFF)                                     ft (AFF)

4.3 Airlock:		 Internal  	 External

Size:				Length OD	  		Width OD

4.4 Soak Area:		 Internal  	 External

Size:				Length OD 			Width OD

4.5 Doors:

Personnel: 	Quantity			Size

Quantity			Size

Double:		Quantity			Size

Transoms:  	Quantity			Size

Mat. Handling:	 Roll Up	 Rapid Roll	Size

Other:

4.6 Windows:

Quantity 		Size

Quantity 		Size

4.7 Pass-Throughs:	Quantity		Size

Quantity 		Size

4.8 Removable Walls:	Length				Height

4.9 Crane Required:		 Yes  	 No

Jib  		 Bridge 	Capacity		Tons

4.10 Sprinkler Required:	  Yes  	 No

4.11  Fire Alarm:		Existing system type:

Yes  	 No

4.12 Other Features:

4.13  Adjacencies:

5.0 Mechanical Systems:

5.1 Chiller: 	 		  Air Cooled  	 Water Cooled

5.2 Condensing Unit: 		  Air Cooled  	 Water Cooled

5.3 Air Handling Unit:		 DX 		 Chilled Water

5.4 Condensing Unit         	 Lab Roof	 Plant Roof	 Floor	 Other

Location:

5.5 Air Handling Unit 		 Lab Roof 	 Plant Roof	 Floor	 Other

Location:

5.6 Fume Hoods:		  Yes  	 No

Quantity	Size				Cfm

Hazardous:	 Yes   No,	Class	Div			Group

Quantity	Size				Cfm

Hazardous:	 Yes   No	Class	Div			Group

5.7  Process Chilled Water:	  Yes  	 No                              Capacity

5.8  Deionized Water:		  Yes  	 No

Existing                 New System

6.0 Laboratory Services:

6.1 Electrical Outlets:

120 vac:	Quantity

208/240 vac:	Quantity

120V./400Hz/ DC Quantity

28 V. DC	Quantity

6.2 Telephone Outlets:	Quantity

6.3 Data Outlets: 	Quantity

6.4 Comp. Air Drops:	Quantity

6.5 Vacuum Drops:	Quantity

6.6 Process Gas Drops:

Quantity		Type

Quantity		Type

Quantity		Type

Quantity                         Type

Quantity                         Type

6.7 Other:

7.0 Plant / Facility Support Services:

7.1 Chilled Water:        	  F 	to  		F

PSI 	@  		GPM

7.2 Tower Water: 		  F 	to  		F

PSI 	@  		GPM

7.3 Steam:			  PSI

7.4 Hot Water:			  F 	to  		F

PSI 	@  		GPM

7.5 Electrical:		  480V, 3 Phase. 3 wire

480V, 3 Phase. 4 wire

120/280V, 3 Phase. 4 wire

120/240V, 3 Phase. 4 wire

7.6  DI Water:		               ohms resistivity

8.0 Plant / Facility Information:

8.1 Temperature:		  F 	 to  		F 	(Surrounding Lab)

8.2 Humidity: 			  %RH   to		%RH	(Surrounding Lab)

8.3 Vibration:		                                     (Surrounding Lab)

8.4 RF/EMI:		                       (Surrounding Lab)

8.5 Plant Condition: 	  Dirty  	  Moderate 		 Clean     (Surrounding Lab)

8.6 Elevation:			             From lowest overhead point to the floor

8.7 Drains:		                   Floor

8.8 Path to dock:	 Easy	  Moderate		 Hard

8.9 Distance (Dock to Lab):		         FT.

9.0 Process Equipment Listing:

10.0 Relevant Plant / Facility Standards:

11.0 Other Features Required:

12.0 Schedule of Attachments

Thank you for your time in completing this form!

To return:

Please fax (513-847-1524) or email to doug.cooper@precisionenvironmentsinc.com

# Text boxes

Description:

Description:

Description:

Ambient

Description:

Description:

Description:

Description:

Description:

Description:

Listing:

Description:

Description:

1.)

2.)

3.)

4.)

5.)

Attach analysis